## Introduction
References
[1] | https://ec.europa.eu/energy/sites/ener/files/documents/mapping-hc-final_report-wp2.pdf
[2] | https://www.northerngasnetworks.co.uk/wp-content/uploads/2017/04/H21-Report-Interactive-PDF-July-2016.compressed.pdf
[3] | https://www.oxfordenergy.org/wpcms/wp-content/uploads/2018/05/Decarbonisation-of-heat-in-Europe-implications-for-natural-gas-demand-NG130.pdf
[4] | http://data.jrc.ec.europa.eu/dataset/jrc-etri-techno-economics-smaller-heating-cooling-technologies-2017/resource/11623535-e775-4591-820f-e1dd8a86ea6a
[5] | http://www.estif.org/fileadmin/estif/content/publications/downloads/UNEP_2015/factsheet_single_family_houses_v05.pdf
[6] | https://ens.dk/sites/ens.dk/files/Analyser/technology_data_catalogue_for_individual_heating_installations_-_upd._march_2018.pdf
[7] | http://solarheateurope.eu/wp-content/uploads/2017/06/Solar-district-heating.pdf
[8] | https://globalsolaratlas.info/
[9] | https://www.iea-shc.org/Data/Sites/1/documents/statistics/Technical_Note-New_Solar_Thermal_Statistics_Conversion.pdf
[10] | http://www.ep.liu.se/ecp/057/vol14/002/ecp57vol14_002.pdf
[11] | https://ens.dk/en/our-services/projections-and-models/technology-data/technology-data-generation-electricity-and
[12] | https://ens.dk/en/our-services/projections-and-models/technology-data/technology-data-individual-heating-plants
[13] | https://www.ewi.research-scenarios.de/cms/wp-content/uploads/2017/11/ewi_ERS_Energy_market_2030_2050_web.pdf
[14] | https://setis.ec.europa.eu/system/files/ETRI_2014.pdf
[15] | https://ens.dk/sites/ens.dk/files/Analyser/technologydata_for_energy_plants_-_may_2012_ver_sep2018.pdf
[16] | https://www.climatexchange.org.uk/media/1393/thermal_energy_storage_in_scotland.pdf
[17] | http://apvi.org.au/solar-research-conference/wp-content/uploads/2015/04/6-R-Jacob_peer_reviewed.pdf
[18] | https://www.agcs.allianz.com/assets/Global%20offices%20assets/Germany/Expert%20Days%202017/Pr%C3%A4sentationen/15_AGCS_Expert_Days_2017_Energy%20Storage_Andreas_Hauer.pdf
[19] | http://publications.jrc.ec.europa.eu/repository/bitstream/JRC109034/kjna28861enn.pdf
[20] | https://ens.dk/sites/ens.dk/files/Analyser/technology_data_catalogue_for_energy_storage_-_nov_2018.pdf
[21] | http://publications.jrc.ec.europa.eu/repository/bitstream/JRC109006/kjna28859enn.pdf
[22] | https://eera-es.eu/wp-content/uploads/2018/08/JPES-SP3-Technology-Factsheets-Brochure.pdf
[23] | https://www.stage-ste.eu/documents/TES%201%20IRENA-ETSAP%20Tech%20Brief%20E17%20Thermal%20Energy%20Storage.pdf
[24] | https://www.icef-forum.org/pdf2018/roadmap/Energy_Storage_Roadmap_ICEF2017.pdf
Simbols | Meaning
- | No data available
N.A. | Not applicable

## Heat only boiler
Technology | Parameter | 2015 | 2030 | 2050 | References | Comments
Electricity
Electric boiler | Energy efficiency [%] | 96 | 98 | 99 | [1] | According to reference [1], 96% to 100%. Split by CE Delft over the years 2015, 2030 and 2050 [This means that CE Delft divided the effi]
| Specific investment cost [EUR/kW] | 243-800 | 243-800 | 243-800 | [1] | Price level 2030 and 2050 are estimations. Not a new technique nor a sustainable technique, so the price level will probably not go down much.
| Fixed O&M cost [EUR/kW] | 0-0.1 | 0-0.1 | 0-0.1 | [1] | Data for 2030 and 2030 are estimations
| Variable O&M cost [EUR/kWh] | - | - | -
| Specific variable cost - average EU fuel prices [EUR/kWh] | 0.096-0.0304 | - | -
| Minimum operational load [%] | N.A. | N.A. | N.A.
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A.
| Ramp down speed 100% - 0% [min] | N.A. | N.A. | N.A.
| Supply temperature range [°C] | 40-80 | 40-80 | 40-80 | Estimation
| Lifetime [years] | 30 | 30 | 30 | [1]
Biomass
Biomass boiler, automatic stoking, one-family house, existing and energy renovated building | Energy efficiency [%] | 67-89 | 67-91 | 67-95 | [6]; [4]
| Specific investment cost [EUR/kW] | 200-930 | 210-1010 | 210-1010 | [6]; [4] | Values given per unit and they were divided by the production capacity on the unit. The value in the study EC 2017 for Eastern Europe is so far below the other values, that it was not taken into account (25 EUR/kW)
| Fixed O&M cost [EUR/kW] | 2-42 | 3-46.4 | 3-42 | [6]; [4] | Values given per unit and they were divided by the production capacity on the unit. Electricity costs were excluded, since they widely depend on the country. This is a few percent of the O&M costs. In the EC 2017, the values are lower than in the DEA study.
| Variable O&M cost [EUR/kWh] | 0 | 0 | 0 | [6]; [4]
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | - |  | Same as for other techniques: should be a general input of database
| Minimum operational load [%] | N.A. | N.A. | N.A. | [6]
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | [6]
| Ramp down speed 100% - 0% [min] | N.A. | N.A. | N.A. | [6]
| Supply temperature range [°C] | 40-80 | 40-80 | 40-80 | Estimation
| Lifetime [years] | 20 | 20 | 20 | [6]; [4]
Biomass boiler, automatic stoking, apartment complex, existing building | Energy efficiency [%] | 80 | 90 | 90 | [6]
| Specific investment cost [EUR/kW] | 225 | 207.5 | 190 | [6] | Values given per unit and they were divided by the production capacity on the unit.
| Fixed O&M cost [EUR/kW] | 4 | 3.71 | 3.3575 | [6] | Values given per unit and they were divided by the production capacity on the unit. Electricity costs were excluded, since they widely depend on the country. This is a around 10 percent of the O&M costs.
| Variable O&M cost [EUR/kWh] | 0 | 0 | 0 | [6]
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | - |  | Same as for other techniques: should be a general input of database
| Minimum operational load [%] | N.A. | N.A. | N.A. | [6]
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | [6]
| Ramp down speed 100% - 0% [min] | N.A. | N.A. | N.A. | [6]
| Supply temperature range [°C] | 40-80 | 40-80 | 40-80 | Estimation
| Lifetime [years] | 20 | 20 | 20 | [6]
Biomass boiler, manual stoking - one-family house, existing, new and energy renovated buildings | Energy efficiency [%] | 80 | 86 | 88 | [6]
| Specific investment cost [EUR/kW] | 200 | 260 | 236 | [6] | Values given per unit and they were divided by the production capacity on the unit.
| Fixed O&M cost [EUR/kW] | 12.8571 | 16.68 | 15.12 | [6] | Values given per unit and they were divided by the production capacity on the unit. Electricity costs were excluded, since they widely depend on the country.This is a few percent of the O&M costs.
| Variable O&M cost [EUR/kWh] | 0 | 0 | 0 | [6]
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | - |  | Same as for other techniques: should be a general input of database
| Minimum operational load [%] | N.A. | N.A. | N.A. | [6]
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | [6]
| Ramp down speed 100% - 0% [min] | N.A. | N.A. | N.A. | [6]
| Supply temperature range [°C] | 40-80 | 40-80 | 40-80 | Estimation
| Lifetime [years] | 20 | 20 | 20 | [6]
Wood stove without integrated water tank - one family house, existing and new building | Energy efficiency [%] | 65 | 75 | 75 | [6]; [4]
| Specific investment cost [EUR/kW] | 350-420 | 670-880 | 780-930 | [6]; [4] | Values given per unit and they were divided by the production capacity on the unit.
| Fixed O&M cost [EUR/kW] | 25 | 50 | 47.5 | [6] | Values given per unit and they were divided by the production capacity on the unit.
| Variable O&M cost [EUR/kWh] | 0 | 0 | 0 | [6]
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | - |  | Same as for other techniques: should be a general input of database
| Minimum operational load [%] | N.A. | N.A. | N.A. | [6]
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | [6]
| Ramp down speed 100% - 0% [min] | N.A. | N.A. | N.A. | [6]
| Supply temperature range [°C] | 40-80 | 40-80 | 40-80 | Estimation
| Lifetime [years] | 20-24 | 20-24 | 20-24 | [6]; [4]
Biofuels
Green gas boiler | Energy efficiency [%] | 97 | 98 | 99 | Estimation | European Biogas Association: European-biogas.eu
| Specific investment cost [EUR/kW] | 196-645 | 182-600 | 165-542 | Estimation
| Fixed O&M cost [EUR/kW] | 1-2 | 1-2 | 1-2 | Estimation
| Variable O&M cost [EUR/kWh] | 0 | 0 | 0 | Estimation
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | - | Estimation | Same as for other techniques: should be a general input of database
| Minimum operational load [%] | N.A. | N.A. | N.A. | Estimation
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | Estimation
| Ramp down speed 100% - 0% [min] | N.A. | N.A. | N.A. | Estimation
| Supply temperature range [°C] | 40-80 | 40-80 | 40-80 | Estimation
| Lifetime [years] | 20 | 20 | 20 | Estimation
Hydrogen boiler | Energy efficiency [%] | 97 | 98 | 99 |  | European Biogas Association: European-biogas.eu
| Specific investment cost [EUR/kW] | 400 | 350 | 200 | [2] | Estimation for 2030 and 2050 is based on the perspective that the price of a hydrogen boiler will go to the same level of the price of the natural gas boiler (Jaco Reijerkerk, Ekinetix)
| Fixed O&M cost [EUR/kW] | 0 | 0 | 0 | Estimation
| Variable O&M cost [EUR/kWh] | 150 | 130 | 110 | Estimation
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | - | Estimation | Same as for other techniques: should be a general input of database
| Minimum operational load [%] | N.A. | N.A. | N.A. | Estimation
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | Estimation
| Ramp down speed 100% - 0% [min] | N.A. | N.A. | N.A. | Estimation
| Supply temperature range [°C] | 40-80 | 40-80 | 40-80 | Estimation
| Lifetime [years] | 20 | 20 | 20 | Estimation
Fossil Fuels
Natural gas boiler - one-family house, existing and energy renovated buildings | Energy efficiency [%] | 85-97 | 85-98 | 85-99 | [6]; [4] | DEA: production capacity is 10 kW. EC: production capacity is 18,5 - 30 kW
| Specific investment cost [EUR/kW] | 196-645 | 182-600 | 165-542 | [1] | Based on the different costs in different EU countries, reduction in 2030 and 2050 in line with prediction Danish study [ref]
| Fixed O&M cost [EUR/kW] | 1-2 | 1-2 | 1-2 | [1] | As percentage of investment costs
| Variable O&M cost [EUR/kWh] | 0-5 | 0-5 | 0-5 | [6]; [4] | The EC 2017 study only gives values for the Northern Europe region.
| Specific variable cost - average EU fuel prices [EUR/kWh] | 0.022-0.112 | - | - |  | Same as for other techniques: should be a general input of database
| Minimum operational load [%] | N.A. | N.A. | N.A. | [6]
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | [6]
| Ramp down speed 100% - 0% [min] | N.A. | N.A. | N.A. | [6]
| Supply temperature range [°C] | 40-80 | 40-80 | 40-80 | Estimation
| Lifetime [years] | 15-22 | 15-22 | 15-22 | [6]; [4]
Natural gas boiler - apartment complex, existing building | Energy efficiency [%] | 101 | 102 | 102 | [6]
| Specific investment cost [EUR/kW] | 63 | 58.5 | 52.75 | [6] | Values given per unit and these costs were divided by the production capacity on the unit.
| Fixed O&M cost [EUR/kW] | 1.59 | 1.475 | 1.4025 | [6] | Values given per unit and these costs were divided by the production capacity on the unit. Electricity costs are not taken into account. This is around 10% of the O&M costs.
| Variable O&M cost [EUR/kWh] | 0 | 0 | 0 | [6]
| Specific variable cost - average EU fuel prices [EUR/kWh] | 0.022-0.112 | - | - |  | Same as for other techniques: should be a general input of database
| Minimum operational load [%] | N.A. | N.A. | N.A. | [6]
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | [6]
| Ramp down speed 100% - 0% [min] | N.A. | N.A. | N.A. | [6]
| Supply temperature range [°C] | 40-80 | 40-80 | 40-80 | Estimation
| Lifetime [years] | 20 | 20 | 20 | [6] | [refs]
Condensing oil-fired boiler - one-family house, existing and energy renovated buildings | Energy efficiency [%] | 85-92 | 85-93 | 85-95 | [6]; [4] | DEA: production capacity is 15 kW. EC: production capacity is 15 - 30 kW
| Specific investment cost [EUR/kW] | 80-400 | 80-370 | 80-370 | [6]; [4] | Values given per unit and these costs were divided by the production capacity on the unit. In de DEA study, the costs decrease over the years, in the EC-study, the costs stay the same over the years.
| Fixed O&M cost [EUR/kW] | 1.3-16 | 1.3-14.9 | 1.3-13.4 | [6]; [4] | Values given per unit and these costs were divided by the production capacity on the unit. Electricity costs are not taken into account. This is a few percent of the O&M costs. According the DEA study the costs are higher and decrease over the years. In the EC 2017 the O&M costs are lower and stay the same over the years.
| Variable O&M cost [EUR/kWh] | 0 | 0 | 0 | [6]; [4]
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | - |  | Same as for other techniques: should be a general input of database
| Minimum operational load [%] | N.A. | N.A. | N.A. | [6]
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | [6]
| Ramp down speed 100% - 0% [min] | N.A. | N.A. | N.A. | [6]
| Supply temperature range [°C] | 40-80 | 40-80 | 40-80 | Estimation
| Lifetime [years] | 20 | 20 | 20 | [6]; [4]
Oil-fired boiler - apartment complext, existing building | Energy efficiency [%] | 92 | 93 | 95 | [6]
| Specific investment cost [EUR/kW] | 87.5 | 81.25 | 73.5 | [6] | Values given per unit and these costs were divided by the production capacity on the unit.
| Fixed O&M cost [EUR/kW] | 1.9 | 1.7625 | 1.595 | [6] | Values given per unit and these costs were divided by the production capacity on the unit. Electricity costs are not taken into account. This is around 10 percent of the O&M costs.
| Variable O&M cost [EUR/kWh] | 0.025 | 0.023 | 0.021 | [6]
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | - |  | Same as for other techniques: should be a general input of database
| Minimum operational load [%] | N.A. | N.A. | N.A. | [6]
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | [6]
| Ramp down speed 100% - 0% [min] | N.A. | N.A. | N.A. | [6]
| Supply temperature range [°C] | 40-80 | 40-80 | 40-80 | Estimation
| Lifetime [years] | 20 | 20 | 20 | [6]
Coal fired boiler - one family house | Energy efficiency [%] | 0.75 | 0.75 | 0.75 | [3] | Efficiency for 2030 and 2050 are estimations. Not a new technique nor a sustainable technique, so the efficiency level will probably not be improved a lot, since the technique will be used less and less.
| Specific investment cost [EUR/kW] | 112-367 | 112-367 | 112-367 | [1] | Depending on price level of the country, price level 2030 and 2050 Estimation. Not a new technique nor a sustainable technique, so the price level will probably not go down much.
| Fixed O&M cost [EUR/kW] | 0.02 | 0.02 | 0.02 | [1] | As percentage of investment costs
| Variable O&M cost [EUR/kWh] | - | - | -
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | - |  | Same as for other techniques: should be a general input of database
| Minimum operational load [%] | N.A. | N.A. | N.A.
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A.
| Ramp down speed 100% - 0% [min] | N.A. | N.A. | N.A.
| Supply temperature range [°C] | 40-80 | 40-80 | 40-80 | Estimation
| Lifetime [years] | - | - | -

## Solar thermal
Technology | Parameter | 2015 | 2030 | 2050 | References | Comments
Flat plate collectors ('normal' solar thermal collectors), glazed collector
Thermosiphon systems, southern Europe (warm and tropical climates), single family houses | Energy efficiency [%] | 40 | 45 | 50 | [6] | This is the efficiency compared to the amount of global solar irradiation that falls on the horizontal surface
| Specific investment cost [EUR/kW] | 830 | 705.5 | 560.25 | [5] | Costs in Mediterranean region, price reduction in 2030 and 2050 is in line with reduction presented in Danish report [6]
| Fixed O&M cost [EUR/kW] | 14.2857 | 13.3333 | 11.9048 | [6]; [5]
| Variable O&M cost [EUR/kWh] | N.A. | N.A. | N.A. | [6]
| Specific variable cost - average EU fuel prices [EUR/kWh] | 0.04-0.059 | 0.04-0.059 | 0.04-0.059 | [5] | Costs for Southern Europe
| Minimum operational load [%] | N.A. | N.A. | N.A. | [6]
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | [6]
| Supply temperature range [°C] | 40-60 | 40-60 | 40-60 | [5] | This is the usual temperature range required for the most common uses, even if the user lowers the temperature by mixing with cold water.
| Lifetime [years] | 20 | 30 | 30 | [10]; [5]
Forced circulation systems, central and northern Europe (colder climates), single family houses | Energy efficiency [%] | 44 | 49 | 55 | [6] | This is the efficiency compared to the amount of global solar irradiation that falls on the horizontal surface
| Specific investment cost [EUR/kW] | 765 - 2160 | 650 - 1836 | 516 - 1458 | [5] | Investment costs depend largely on the region in Europe. For central Europe the costs are lower than for Northern Europe, price reduction in 2030 and 2050 is in line with reduction presented in Danish report [6]
| Fixed O&M cost [EUR/kW] | 14.2857 | 13.3333 | 11.9048 | [6]; [5]
| Variable O&M cost [EUR/kWh] | N.A. | N.A. | N.A. | [6]
| Specific variable cost - average EU fuel prices [EUR/kWh] | 0.095-0.266 | 0.095-0.266 | 0.095-0.266 | [5] | Energy costs are lower in central Europe than in Northern Europe.
| Minimum operational load [%] | N.A. | N.A. | N.A. | [6]
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | [6]
| Supply temperature range [°C] | 40-60 | 40-60 | 40-60 | [5]
| Lifetime [years] | 20 | 30 | 30 | [10]; [5]
Solar district heating
Flat plate collectors, evacuated tubes or concentrated solar thermal | Energy efficiency [%] | 44 | 49 | 55 | [6] | This is the efficiency compared to the amount of global solar irradiation that falls on the horizontal surface
| Specific investment cost [EUR/kW] | 315 - 936 | 268 - 796 | 213 - 632 | [7] | For systems in Europe, price reduction is in line with reduction price according to report, [6]
| Fixed O&M cost [EUR/kW] | 14.2857 | 13.3333 | 11.9048 | [7] | The operating and maintenance requirements are in line with operating such large systems, either solar thermal or using other technologies. Correct operation is also required to maximize performance.
| Variable O&M cost [EUR/kWh] | N.A. | N.A. | N.A. | [7] | The operating and maintenance requirements are in line with operating such large systems, either solar thermal or using other technologies. Correct operation is also required to maximize performance.
| Specific variable cost - average EU fuel prices [EUR/kWh] | 0.036-0.135 | 0.036-0.135 | 0.036-0.135 | [7] | Energy costs are lower in central Europe than in Northern Europe.
| Minimum operational load [%] | N.A. | N.A. | N.A. | [6]
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A. | [6]
| Supply temperature range [°C] | 40-100 | 40-100 | 40-100 | [7] | The temperature requirements highly depend on the currently used temperature in the grid
| Lifetime [years] | 20 | 30 | 30 | [10]; [6]

## Geothermal
Technology | Parameter | 2015 | 2030 | 2050 | References | Comments
Geothermal heat-only plant with steam driven absorption pump - 70°C | Energy efficiency [%] | 231 | 231 | 231 | [11]
| Specific investment cost [EUR/kW] | 1800 | 1800 | 1800 | [11]
| Fixed O&M cost [EUR/kW] | 47 | 47 | 47 | [11]
| Variable O&M cost [EUR/kWh] | - | - | -
| Specific variable cost - average EU fuel prices [EUR/kWh] | N.A. | N.A. | N.A.
| Minimum operational load [%] | N.A. | N.A. | N.A.
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A.
| Supply temperature range [°C] | N.A. | N.A. | N.A.
| Lifetime [years] | 25 | 25 |  | [11]
Geothermal heat-only plant with steam driven absorption pump - 50°C | Energy efficiency [%] | 192 | 192 | 192 | [11]
| Specific investment cost [EUR/kW] | 2000 | 2000 | 2000 | [11]
| Fixed O&M cost [EUR/kW] | 49 | 49 | 49 | [11]
| Variable O&M cost [EUR/kWh] | - | - | -
| Specific variable cost - average EU fuel prices [EUR/kWh] | N.A. | N.A. | N.A.
| Minimum operational load [%] | N.A. | N.A. | N.A.
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A.
| Supply temperature range [°C] | N.A. | N.A. | N.A.
| Lifetime [years] | 25 | 25
Geothermal heat-only plant with electric heat pump 70°C | Energy efficiency [%] | 688 | 688 | 688 | [11]
| Specific investment cost [EUR/kW] | 1600 | 1600 | 1600 | [11]
| Fixed O&M cost [EUR/kW] | 37 | 34 | 34 | [11]
| Variable O&M cost [EUR/kWh] | - | - | -
| Specific variable cost - average EU fuel prices [EUR/kWh] | N.A. | N.A. | N.A.
| Minimum operational load [%] | N.A. | N.A. | N.A.
| Ramp up speed 0% - 100% [min] | N.A. | N.A. | N.A.
| Supply temperature range [°C] | N.A. | N.A. | N.A.
| Lifetime [years] | 25 | 25 |  | [11]

## Heat pumps
Technology | Parameter | 2015 | 2030 | 2050 | References | Comments
Air source
Heat pump - air to air [2,5 -6 kW] | Energy efficiency (COP) [%] | 480-500 | 340-410 | 360-420 | [12]
| Specific investment cost [EUR/kW] | 450-480 | 475-515 | 450-485 | [12]
| Fixed O&M cost [EUR/kW] | 43-68 | 37-42 | 33-38 | [12]
| Variable O&M cost [EUR/kWh] | - | - | -
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | -
| Minimum operational load [%] | - | - | -
| Ramp up speed 0% - 100% [min] | 1 | 1 | 1 | [12]
| Supply temperature range [°C] | - | - | -
| Lifetime [years] | 12 | 12 | 12 | [12]
Heat pump - air to water [4 - 10kW] | Energy efficiency (COP) [%] | 300-400 | 340-430 | 355-450 | [12]
| Specific investment cost [EUR/kW] | 1000-1750 | 850-1500 | 760-1250 | [12]; [13]
| Fixed O&M cost [EUR/kW] | 29-58 | 26-51 | 24-48
| Variable O&M cost [EUR/kWh] | - | - | - | [12]
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | -
| Minimum operational load [%] | - | - | -
| Ramp up speed 0% - 100% [min] | 1 | 1 | 1 | [12]
| Supply temperature range [°C] | - | - | -
| Lifetime [years] | 18 | 18 | 18 | [12]
Heat pump - air to water [160 - 400 kW] | Energy efficiency (COP) [%] | 410 -440 | 400-460 | 415-480 | [12]
| Specific investment cost [EUR/kW] | 375-470 | 320-443 | 285-356 | [12]
| Fixed O&M cost [EUR/kW] | 4 | 5 | 6 | [12]
| Variable O&M cost [EUR/kWh] | 0.0005 | 0.00042 | 0.00038 | [12]
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | -
| Minimum operational load [%] | - | - | -
| Ramp up speed 0% - 100% [min] | 1-2 | 1-2 | 1-2 | [12]
| Supply temperature range [°C] | - | - | -
| Lifetime [years] | 20 | 20 | 20 | [12]
Water source
Water source electrically driven [<70 kWth] | Energy efficiency (COP) [%] | 400 | 430 | 440 | [14]
| Specific investment cost [EUR/kW] | 800-1800 | 730-1640 | 650-1450 | [14]
| Fixed O&M cost [EUR/kW] | 32 | 21.9 | 19.5 | [14]
| Variable O&M cost [EUR/kWh] | - | - | -
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | -
| Minimum operational load [%] | - | - | -
| Ramp up speed 0% - 100% [min] | - | - | -
| Supply temperature range [°C] | - | - | -
| Lifetime [years] | 20 | 20 | 20 | [14]
Ground source
Heat pump - ground source [4-10 kW] | Energy efficiency (COP) [%] | 310-440 | 330-460 | 345-485 | [12]
| Specific investment cost [EUR/kW] | 1600-4000 | 1400-2500 | 1200-2250 | [12]
| Fixed O&M cost [EUR/kW] | 29-73 | 26-63 | 24-60 | [12]
| Variable O&M cost [EUR/kWh] | 0 | 0 | 0 | [12]
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | -
| Minimum operational load [%] | - | - | -
| Ramp up speed 0% - 100% [min] | 1 | 1 | 1 | [12]
| Supply temperature range [°C] | - | - | -
| Lifetime [years] | 20 | 20 | 20 | [12]
Heat pump - ground source [160-400 kW] | Energy efficiency (COP) [%] | 420-500 | 440-520 | 460-540 | [12]
| Specific investment cost [EUR/kW] | - | - | -
| Fixed O&M cost [EUR/kW] | 10.25 | 11.66 | 15 | [12]
| Variable O&M cost [EUR/kWh] | 0.0005 | 0.00042 | 0.00038 | [12]
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | -
| Minimum operational load [%] | - | - | -
| Ramp up speed 0% - 100% [min] | 1 | 1 | 1 | [12]
| Supply temperature range [°C] | - | - | -
| Lifetime [years] | 20 | 20 | 20 | [12]
District heating heat pumps
Electrical compression heat pumps [4 MW] | Energy efficiency (COP) [%] | 350 | 380 | 410 | [11]
| Specific investment cost [EUR/kW] | 700 | 590 | 530 | [11]
| Fixed O&M cost [EUR/kW] | 2 | 2 | 2 | [11]
| Variable O&M cost [EUR/kWh] | 0.0033 | 0.0037 | 0.0039 | [11]
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | -
| Minimum operational load [%] | 10 | 10 | 10 | [11]
| Ramp up speed 0% - 100% [min] | - | - | -
| Supply temperature range [°C] | - | - | -
| Lifetime [years] | 25 | 25 | 25 | [11]
Absorption heat pumps [12 MW] | Energy efficiency (COP) [%] | 170 | 173 | 175 | [11]
| Specific investment cost [EUR/kW] | 600 | 510 | 460 | [11]
| Fixed O&M cost [EUR/kW] | 2 | 2 | 2 | [11]
| Variable O&M cost [EUR/kWh] | 0.0009 | 0.0013 | 0.0014 | [11]
| Specific variable cost - average EU fuel prices [EUR/kWh] | - | - | -
| Minimum operational load [%] | 10 | 10 | 10 | [11]
| Ramp up speed 0% - 100% [min] | - | - | -
| Supply temperature range [°C] | - | - | -
| Lifetime [years] | 25 | 25 | 25 | [11]

## Thermal energy storage
Technology | Parameter | 2015 | 2030 | 2050 | References | Comments
Buffer storage
Low-T sensible heat storage (tank, TTES) | Storage efficiency [%] | 50-98 | 98 | 98 | [23]; [20]; [21]
| Specific investment cost [EUR/kWh] | 0.1-11 | 3-11 | 3-11 | [22]; [23]; [20]; [19] | as low as; DEA assumes large scale (175 MWh; 3.000 m3); EC assumes 100-50.000 m3 capacity
| Specific O&M cost [EUR/kWh] | 0.0086 | 0.0086-0.045 | 0.0086-0.045 | [20]; [21] | 2015: 2,7% - 3,5% of investment, O&M shares calculated from IRENA DEA assumes large scale (175 MWh; 3.000 m3)
| Charging efficiency [%] | 100 | 100 | 100 | [20] | Roundtrip is 98%.
| Discharging efficiency [%] | 100 | 100 | 100 | [20] | Roundtrip is 98%.
| Supply temperature range [°C] | 0-100 | 0-100 | 0-100 | [22]; [23] | Assumed no change in 2030/2050
| Lifetime [years] | 10-40 | 25-40 | 25-40 | [22]; [23]; [20]; [21] | Depends on storage cycles, temperatures and operating conditions; technical life time
Low-T sensible heat storage (pit, PTES) | Storage efficiency [%] | 50-90 | 70 | 70 | [23]; [20]
| Specific investment cost [EUR/kWh] | 0.58 | 0.54 | 0.47 | [20] | DEA: 70,000 m3 case, seasonal heat storage
| Specific O&M cost [EUR/kWh] | 0.003 | 0.003 | 0.003 | [20]
| Charging efficiency [%] | 100 | 100 | 100 | [20]
| Discharging efficiency [%] | 100 | 100 | 100 | [20]
| Supply temperature range [°C] | 0 - 100 | 0-100 | 0-100 | [22] | Assumed no change in 2030/2050
| Lifetime [years] | 20 | 20 | 20 | [15]; [22] | Assumed no change in 2030/2050
Low-T sensible heat storage (borehole, BTES) | Storage efficiency [%] | - | - | -
| Specific investment cost [EUR/kWh] | 0.5 | - | - | [22] | as low as
| Specific O&M cost [EUR/kWh] | - | - | -
| Charging efficiency [%] | - | - | -
| Discharging efficiency [%] | - | - | -
| Supply temperature range [°C] | 0-100 | - | - | [22]
| Lifetime [years] | 20 | - | - | [22]
Home heat buffer tank | Storage efficiency [%] | - | - | -
| Specific investment cost [EUR/kWh] | 39 - 95 | - | - | [19]
| Specific O&M cost [EUR/kWh] | - | - | -
| Charging efficiency [%] | - | - | -
| Discharging efficiency [%] | - | - | -
| Supply temperature range [°C] | - | - | -
| Lifetime [years] | - | - | -
PCMs
Low-T lattent heat storage (ICE) | Storage efficiency [%] | 75-90 | 75-90 | 75-90 | [23] | Assumed no change in 2030/2050
| Specific investment cost [EUR/kWh] | 10-50 | - | - | [23]
| Specific O&M cost [EUR/kWh] | - | - | -
| Charging efficiency [%] | - | - | -
| Discharging efficiency [%] | - | - | -
| Supply temperature range [°C] | -40-100 | -40-100 | -40-100 | [22] | Assumed no change in 2030/2050
| Lifetime [years] | 10-50 | 10-50 | 10-50 | [22]; [23] | Depends on storage cycles, temperatures and operating conditions; technical life time. Assumed no change in 2030/2050
Low-T lattent heat storage (PCM/molten salt) | Storage efficiency [%] | 40-93 | 40-93 | 40-93 | [9]; [18] | Technology is still in experimental phase, 'market launch is expected in around 2035' [24]. Assumed no change in 2030/2050.
| Specific investment cost [EUR/kWh] | 10-58 | - | - | [23]; [16]; [17]; [18] | Jacobs assumes high temperature. Jacobs calculated from UDS to EUR (1.2385 USD/EUR, 2014). Hauer calculated from USD to EUR (1.1297 USD/EUR, 2017)
| Specific O&M cost [EUR/kWh] | - | - | -
| Charging efficiency [%] | - | - | -
| Discharging efficiency [%] | - | - | -
| Supply temperature range [°C] | - | - | -
| Lifetime [years] | - | - | -
Seasonal storage
ATES (Aquifer Thermal Energy Storage) | Storage efficiency [%] | 40-60 | 40-60 | 40-60 | [19] | Difficult to find numbers because it depends on the underground
| Specific investment cost [EUR/kWh] | - | - | - |  | The cost structure is based on the ATES of Rostock, Germany
| Specific O&M cost [EUR/kWh] | - | - | -
| Charging efficiency [%] | - | - | -
| Discharging efficiency [%] | - | - | -
| Supply temperature range [°C] | 50 | 50 | 50 | [19]
| Lifetime [years] | 35 | 40 | 45 | [19]